Architectural Review Committee Staff Report				   November 19, 2019

Department of Planning and Building

Town of McCordsville

Project:		Weavers Landing Amenity Area Pool-house

Petitioner: 		Westport Homes

Request:	The petitioner is seeking approval of their pool-house located in Common A of the Weavers Landing subdivision.

Staff Review:	The project received PUD rezone and annexation approval from the Town Council in 2018.  Since, the rezone and annexation approvals the petitioner has been working on their Development Plan. Section 1 construction is nearly complete and the petitioner has received approval of their product line.  Therefore, the petitioner would like to get the amenity area approved.

The PUD does include architectural standards.  A complete list of applicable architectural standards is below.  All models and elevations haven reviewed for compliance, and are marked as follows:

- Indicates compliance

- Indicates non-compliance

- Indicates a need for further discussion or a lot specific requirement

- Dimensional shingles;

- Main roof pitch of 6:12 or greater, ancillary roofs may be less;

- All siding shall be brick, stone, wood, cement fiber board, stucco, and/or vinyl.  Any vinyl shall be a minimum of 0.44 thickness and shall be endorsed as meeting or exceeding ASTM D3679 by VSI;

- No vents or louvers discharging from the roof will be visible from the front elevation, nor shall any be located on the first floor of any front elevation

- Each home shall feature a minimum of 50% brick or stone on the front elevation;

- All front returns of 4’ or less shall be required to match the front elevation masonry in style and height;

- Side elevations of homes abutting a street, shall provide 50% brick or stone;

- Min. roof overhang shall be 9”;

- Unless approved by the ARC, the front porch columns shall have a minimum of 6” x 6”;

- Unless adjacent to masonry wrap, all windows, doors, and corners shall have 1” x 6” wrap;

Staff Comments:	The petitioner plans comply with all aspects of the Weavers Landing architectural standards. Staff is supportive of this petitioner and recommends approval.