Plan Commission Staff Report						   November 23, 2021

Department of Planning and Building

Town of McCordsville

Project:		PC-21-014, Jacobi Farms Preliminary Plan

Petitioner: 		Pulte Group

Request:	The petitioner is seeking approval of a Preliminary Plan (Primary Plat) for a subdivision of 479 lots

Staff Review:	This property was recently rezoned by the Town Council to the Jacobi Legacy Farms PUD

General Size & Location

The subject property is approximately 177 acres and is located at the northwest corner of CR 750N & CR 500W.  The property and its location is further described on the Primary Plat.

Existing Land Use & Zoning

The subject property is a zoned PUD.  Adjacent properties are zoned as follows:

- North: single-family residential properties zoned R2.5 by the County

- East: Across CR 500W is mostly undeveloped agricultural property zoned R-1 by the County

- South: Across CR 750 is mostly undeveloped agricultural property zoned R2.5 by the County

- West: undeveloped agricultural property zoned R-2 and Regional Commercial

Infrastructure

The site will receive sanitary sewer service from the Town, more specifically the site will be initially served via the lift station just to the west of this site.  Ultimately, a large portion of the site will be switch over to another sanitary sewer basin in the future, once infrastructure is in place.  Water service will be provided Citizens Energy Group.  The site has frontage along both CR 500W and CR 750N.  A number of ingress/egress points are shown on the Preliminary Plan.

Development Proposal

The Preliminary Plan 479 lots and multiple common areas.  The subdivision will feature four (4) product types each with their own development standards.  Those development standards are denoted on the Cover Sheet of the plan set.

In addition to the bulk standards denoted above, all primary plats must show right-of-way to be dedicated (at time of final plat) in accordance with the Town’s Thoroughfare Plan, existing easements, proof of access to a public thoroughfare, and delineations of any anticipated or known future easements.

All other standards relating to lot specific requirements, development standards, design standards, etc are reviewed at subsequent stages.

Staff Comments:	The purpose of primary plats is to ensure the minimum basic standards of the applicable zoning district are met, and that all proposed lots/parcels have access to public right-of-way, utilities, and other necessary services.  In other words, the primary plat is ensuring that all lots/parcels/blocks are legal, conforming lots/parcels/blocks as required by the Town’s Zoning Ordinance.  This primary plat, as submitted, is in compliance.

Following the public hearing, the Commission may vote on this petition.  Staff finds that the petition meets all of the requirements for a primary plat within this zoning and therefore staff recommends approval, contingent upon the recording of the annexation ordinance.

As of the writing of this report, staff has not received any comments from the public regarding this petition.

This petition will require a public hearing and following the public hearing and discussions from staff and the petitioner, the Commission can motion to provide (a) approval, (b) continuance, or (c) denial.