Board of Zoning Appeals Staff Report					    	                    May 4, 2022

Department of Planning and Building

Town of McCordsville

Project:			Rooftop Solar Panels, BZA-22-004

Petitioner: 		Blue Raven Solar

Location:	7016 N Lyndhurst Crossing

Request:	The petitioner’s request seeks one Development Standards Variance to allow the installation of solar panels on the roof that are visible from the street.

Staff Review: 	Background: Gateway Crossing is zoned PUD.  The owner is seeking a variance of the standards the Town adopted in 2016 regarding solar panels, which prohibit their view from the street.

Existing Conditions: The site is developed as a single-family residence.

Surrounding Land Use & Zoning:  The surrounding properties to east, north, and west are developed as single-family homes and are zoned Gateway Crossing PUD.  The property directly south is currently an agricultural field but was just recently rezoned to the Hampton Walk PUD, which is a mixed-residential zoning.

Variance Request – Section 4.01(D)(4)(b&f)

This section prohibits solar panels, within residential zoning, from being placed “on any front or side roof plane or slope”.   Additionally, the language prohibits equipment and components from being visible from any property or street.  The petitioner proposes panels on south facing roof planes, will be visible from the street due to this being a corner lot.  It appears the equipment will be mounted on the east façade of the home, which will also make it visible.  Staff would like to see if any of this equipment can be moved and if not, then we would like to discuss the possibility of screening it with landscaping.

Staff Comments:	The solar panel standards were recommended by staff and adopted by the Town Council in 2016.  As we continue to learn more about solar panel technology, and it continues to become more of an available option for those wishing to diversify their power sources we expect to see more such requests.  While staff still has some concerns regarding the outright allowance of solar panels on all roof planes (visible from a street) without public input and consideration by the BZA, staff will support this petition so long as there is no remonstrance from the neighborhood.  Staff does have recommended conditions of approval, as noted below, and we reserve the right to alter these prior to or during the meeting.

Proposed Conditions of Approval:

- All panels and other roof mounted components shall project more than six (6) inches above the roof plane.

- All panels and other roof mounted components shall be mounted parallel to the roof plane.

- If the roof is replaced the shingle color shall be of a similar color to the solar panels.

- The wall mounted equipment is either moved to west façade or screened with landscaping.

Of the time this report was written staff had received no letters of remonstrance against the petition.

The BZA may include conditions of approval, and if so, those conditions should be incorporated into the ballots.  They may be amended, added to, or removed by the BZA.  The petitioner also has the right to request them to be amended, added to, or removed until the time the BZA has made a motion on the conditions.

Decision Criteria:	The BZA has four (4) options in considering this request; the Board may approve, approve with modifications, deny, or continue this petition.