November 7, 2019

Banning Engineering

853 Columbia Rd., Ste. 101

Plainfield, IN 46168

Attn: Bob Stanton

Re: Weavers Landing, Section 2

Dear Mr. Stanton:

The Planning and Building Dept. has reviewed the Development Plan and Secondary Plat and submitted on October 25, 2019 for Weavers Landing, Sec. 2 and has the following comments that need to be resolved:

PLAT:

- Staff, in consultation with emergency responders and E911, will provide address approval.

- Remove the printed names for the Plan Commission signatures.  Those positions generally change annually.

CONSTRUCTION PLANS:

Streets & Sidewalks/Paths

- Please verify all internal sidewalks are off-set from back of curb by a minimum of 6’.

- Please show public pedestrian access easement for all portions of the perimeter trail not shown in public ROW.

Lighting & Landscaping

- The Town has conducted a cursory review of the entire landscape plan, a detailed review has only been completed for the landscaping located in Section 2.  Therefore, our comments are limited to Section 2.  We will provide comments related to Section 2 at the time that section is presented for TAC review.

- The perimeter along CR 650N is 1137.5’, this length requires a total of 80 trees and 68 shrubs.  By staff’s count, we see 74 trees and 66 shrubs.

- The notes on Sheet L100.01 & 100.02 state 3 shade, 2 evergreen, and 2 ornamentals.  The PUD requires 3 shade, 3 evergreen, and 1 ornamental.

- Please add a streetlight at the CR 650N entrance to all applicable sheets.  Its shown on C204, but not on other sheets.

Miscellaneous

- The plans appear to include that you will complete the perimeter mounding along the full extent of CR 650N, but construct landscaping and perimeter path installations only for length included in Section 2.  Is this correct?

- In cases where lots back up to common area we would like to explore moving the sub-surface drains off the property lines and into the common area, so that drainage easement on the lots is either reduced or removed.  (Exception: Lots 92-97)

- Please revise the Common Area chart on the Cover Sheet to include previous section common areas.

- The Vernon Township Fire Marshal may have comments related to hydrant spacing.  The P & B Dept. will concur with those comments.

- Please convert the dwg file for Section 5, and all previous Sections, to a shapefile and submit.

- Please update your revision and plan set date blocks with the applicable dates prior to re-submission.

Please submit revisions to these comments and all other Town comments following the TAC meeting.  Revisions shall include a letter addressing each comment, referring to the page on which the revision can be found, and be submitted via iWorQ (Revisions/Other Application), or email/share file link to rcrum@mccordsville.org.  Submittals received by November 13th will be eligible for review by the Plan Commission on November 19th.  Submittals received by December 3, 2019 will be eligible for review by the Plan Commission on December 17, 2019.  Detailed drainage revisions can be continued to be addressed following Plan Commission.

The Town reserves the right to highlight additional comments at a later date.

If you have any questions, do not hesitate to contact me.

Sincerely,

Ryan Crum, AICP
Director of Planning & Building

Town of McCordsville