Architectural Review Committee Staff Report				  September 21, 2021

Department of Planning and Building

Town of McCordsville

Project:		Al Neyer Industrial Building

Petitioner: 		Shawn Long, Curran Architecture & Al Neyer

Request:	The petitioner is seeking approval of architecture for an industrial building

Staff Review:	This property is zoned Industrial.  This report takes into account all architectural standards applicable to the building.  The list below denotes the applicable requirements and indicates whether or not the submittal meets the standard.

- Indicates compliance

- Indicates non-compliance

- Indicates further discussion needed or a building permit review requirement

- Façade colors shall be low reflectance, subtle, neutral hues or colors.  The use of high-fluorescent colors is prohibited.  Building trim and accent areas may feature brighter colors or primary colors;

- All buildings are to have a similar design or theme, materials, and compatible architecture;

- All siding must be stone, brick, E.F.I.S, and/or pre-cast concrete (painted or pigmented).

- All pre-cast material must include embedded reveals on all elevations at uniform intervals to create visual interest and reduce the massing of the wall plane

- Clearly defined, highly visible customer entrances wherein the primary customer entrance features no less than the following:

  - Recesses/projections

  - Sidelights and/or transoms

  - Embedded texture or reveal incorporated into the entrance design, featuring a complimentary accent color

  - Integral planters or wing walls that incorporate landscape areas

  - Enhanced, decorative exterior lighting, such as wall scones, building mounted accent lights, or decorative pedestal lights

- Clearly defined, highly visible customer entrances wherein the primary customer entrance features no less than three of the following:

  - Canopies or porticos

  - Overhangs or awnings

  - Arcades

  - Raised corniced parapet over the door

  - Peaked or gabled roof forms

  - Arches

  - Columns

  - Prominent 3-D entryway feature such as a glass-encased entrance or other similar architectural design element projecting from the plane of the main exterior walls by a minimum of 8’ and raised above the adjoining parapet wall roof by a minimum of 3’

  - Other features as approved by the ARC

- Front elevations shall feature a minimum of 3 colors.  Other elevations visible from the public ROW shall feature a minimum of 2 colors.

- All mechanical units must be screened from view.  All RTUs equipment screens shall be constructed so that the equipment screen fully obscures the view of the equipment from all points of abutting property lines and all points of the farthest ROW line of any adjacent public or private street.  The line-of-sight measurements shall be taken at a height of 8’ from grade along the applicable property line or ROW line.

Staff Comments:	As noted above there are two issues to discuss: (1) Staff feels the entrances only feature 2 of the 3 required elements.  (2) The petitioner has presented line-of-sight exhibits for the RTUs and noted that they believe the parapets will screen the RTUs per our regulations Staff would like to hear that explanation in person tonight at the meeting.

One other item to denote: the petitioner’s site plans do not show a trash enclosure.  If an enclosure is added it will need to be constructed of the same materials as the primary structure or appear to be constructed of the same materials.  This is not an ARC issue, it is simply noted to make the petitioner aware of the standard.