Architectural Review Committee Staff Report				       August 21, 2018

Department of Planning and Building

Town of McCordsville

Project:		Geist Montessori Academy

Petitioner: 		Geist Montessori Academy

Request:	The petitioner is seeking approval of architecture for their proposed school at the northwest corner of CR 600W and CR 900N.

Staff Review:	This property is zoned Bay Creek PUD.  Additionally, the site received a Special Exception and Variances from the BZA in 2017.  This report takes into account all architectural standards applicable to the building.   The list below denotes the applicable requirements and indicates whether or not the submittal meets the standard.

- Indicates compliance

- Indicates non-compliance

- Indicates further discussion needed or a building permit review requirement

- Façade colors shall be low reflectance, subtle, neutral hues or colors.  The use of high-fluorescent colors is prohibited.  Building trim and accent areas may feature brighter colors or primary colors;

- All buildings are to have a similar design or theme, materials, and compatible architecture;

- All siding must be stone, brick, cement fiber board, stucco, decorative pre-cast, architectural metal panels, matching approved materials in scale, integrally colored CMU, EIFS, or a combination of these materials;

- The exterior of buildings adjacent to residential areas shall consist of brick, stone façade, stucco, or other material approved by the Plan Commission  (This requirement is stated for the ARC’s reference, it is, by code, something the Plan Commission must act upon, any ARC approval will be contingent upon the PC’s approval of this item);

- All buildings shall screen all mechanical equipment including that which is mounted to the roof and/or ground;

- Wall recesses /projections that are at least 12 inches for every 700 feet of façade shall be required.  Each projection shall extend for at least 20% of the length of the building (Town staff has determined this standard has been met via alternate means on the north elevation);

- Entryways at primary entrances shall include at least 3 of the following: (a) raised cornice parapets over the door, peaked roof forms, arches, or tile work, (b) integral planters or wing walls that incorporate landscaped areas and/or places for sitting, (c) enhanced exterior lighting, (d) prominent 3-D entryway feature, and/or (e) pilasters projecting from the plane of the wall;

- Building facades shall include a repeating pattern that includes no less than 3 of the following elements: (a) color change, (b) texture change, (c) material module change, (d) architectural change wherein the form of the structural bays created through a change in plane is no less than 24” in width, such as an offset, reveal, or projecting rib, and/or (e) change in story wherein there is a clear delineation between each story of the structure provided by a consistent cornice line;

- Roofs shall have at least two of the following features: (a) parapets not exceeding one-third of the height of the supporting wall, (b) 3-D cornices (c) min. 18 inch eaves and overhangs, and/or (d) a cupola not exceeding 15’ past the base roofline; and

- Trash receptacles (dumpsters) shall be enclosed with a solid enclosure that is of the same materials as the primary structure, is a min. of 6’ tall, and contains a solid gate.

Staff Comments:	Staff believes this petitioner meets the Town’s architectural requirements, and recommends upon contingent upon the petitioner received approval for exterior materials from the Plan Commission.