February 6, 2019

HWC Engineering

135 N. Pennsylvania St., Ste 2800

Indianapolis, IN 46204

Attn: Brandon Burke

Re: Oakcrest Primary Plat

Dear Mr. Burke:

The Planning and Building Dept. has reviewed the Primary Plat submitted on January 22, 2019 for Oakcrest and has the following comments that need to be resolved:

PLAT:

- Staff, in consultation with emergency responders and E911, will provide address approval during the Development Plan/Final Plat stage.

- Please add the basic bulk standards to the Plat (ie. FY, SY, ASY, & RY setbacks, min. Lot Area, min. Lot Width, Min. Livable Floor Area, Min. Lot Coverage, & Max Height).

- Prior to construction release, please provide proof of approval of Carroll Road improvements from Marion County.

- The Town would like to explore, at the Development Plan stage, the feasibility of overlapping the rear-yard drainage easements into adjacent common area.  This allows for more use of backyards by residents.

- Please verify all internal sidewalks are off-set from back of curb by a minimum of 6’.

- We appreciate a landscape plan being provided.  Perimeter landscaping along Carroll will also be required by the PUD.  You can either incorporate all the landscaping into the primary plat for our review or remove the landscape sheets from the primary and we would then conduct a full review at the Development Plan stage.

- While not required by the town, we would encourage some additional landscaping along the north property line to ensure more screening between this subdivision and the church.

Any comments (in bold) that require revisions on the primary plat shall be made shall be made during the rezone process and finalized prior to final action by the Town Council on the rezone.  The remainder of comments shall be made on the Development Plan/Final Plat.

The Town reserves the right to highlight additional comments at a later date.

If you have any questions, do not hesitate to contact me.

Sincerely,

Ryan Crum, AICP, CPM
Director of Planning & Building

Town of McCordsville