Plan Commission Staff Report						    February 19, 2019

Department of Planning and Building

Town of McCordsville

Project:		PC-18-007, Weavers Landing, Section 1

Petitioner: 		Premier Land Company

Request:	Petitioner is seeking approval of the Development Plan and Secondary Plat for Section 1 of Weavers Landing residential subdivision

Staff Review:	Section 13 is a sixty-four (64) lot section on approximately 23 acres.  This section is located immediately east of CR 700W, south of Austin Trace, and north of CR 650N.

Subject Property Zoning

The property is zoned Weavers Landing PUD.

Surrounding Land-uses & Zoning

The subject Real Estate is currently undeveloped.  The surrounding land uses are as follows:

- North: Single-family homes in the Austin Trace subdivision.

- East: agricultural property zoned R-1

- South: Single-family homes in the Sagebrook subdivision (County)

- West: Estate residential lots in Marion County

Infrastructure

All lots will be accessed through the internal public streets.  In accordance with the preliminary plan, this section will install a street connection into Austin Trace and temporary stubs to future sections of Weavers Landing. to serve as connection points to future development on adjacent properties.  Two stormwater detention facilities will be constructed with this Section in accordance with the master drainage plan.  Sanitary sewer service will be provided by the Town, and water service will be provided by Citizen’s Energy Group.

Development Standards

The Weavers Landing PUD includes its own Development Standards:

Setbacks (all minimums):

Parcel D:	FY:  25’

SY:  6’ (15’ building separation)

RY: 25’

Lot Width:  	60’

Lot Size: 	7,800 SF

Living Area: 	1,600 SF (1-story)

1,900 SF (2-story)

Perimeter Landscaping:  A 50’ wide buffer along CR 700W is required by the PUD.  The buffer must include 7 trees and6 shrubs per 100 lineal feet, in addition to mounding.  The petitioner’s plans meet this requirement.

Lot Landscaping: Each lot has must include 1 shade tree, 1 evergreen tree, and 8 shrubs.  In addition, sod is required for front yards.  This item is reviewed for after each home is constructed.

Architecture: All homes must comply with the Weavers Landing PUD.  All homes will be reviewed on permit by permit basis when submitted for building permit review.

Lot Count: The maximum number of residential units within Weavers Landing is limited to 202.

Street Lighting: Street lighting is required per the Town of McCordsville standards and has been provided on the plans.

Pedestrian Accessibility:  The PUD requires internal sidewalks on the both sides of all internal streets and a perimeter path along CR 700W (including the Scott property).  The petitioner’s plans meet this requirement.

Open Space:  Open Space is required in accordance with the Preliminary Plan.  Open Space is tracked by staff on a section by section basis, thus far the subdivision is in compliance with the Open Space requirements.

Entrance Median: The PUD requires a median at each entrance.  Section 1 plans show a median at the 1 entrance included in this section.

Entrance Signage: The PUD requires primary signage monumentation at each entrance, and secondary signage monumentation at the Austin Trace connection.  The petitioner’s plans are in compliance.

Technical Advisory Committee (TAC)

The project went to TAC on December 6, 2018, and received a number of comments.  All comments applicable to the Plan Commission’s review have been addressed.  The petitioner will continue to work with staff on setting addresses, street names, and stormwater concerns.

Staff Comments:	Staff is supportive of this petition and recommends approval.  Following discussion the Commission can motion to provide (a) approval, (b) continuance, or (c) denial.