Plan Commission Staff Report						       October 15, 2019

Department of Planning and Building

Town of McCordsville

Project:		PC-19-013, Gateway Crossing Senior Apartments

Petitioner: 		Clover Communities

Request:	Petitioner is seeking approval of Development Plan

Staff Review:	The petitioner is proposing a senior (age restricted) apartment development.  The site is located within the Gateway Crossing subdivision, between the retail out-lots and the existing apartments on N. Gateway Crossing Blvd.  The site is approximately 5 acres in size.

Subject Property Zoning

The property is zoned Gateway Crossing PUD.

Surrounding Land-uses & Zoning

The subject Real Estate is currently undeveloped.  The surrounding land uses are as follows:

- North: Undeveloped property zoned for retails uses (via the GC PUD)

- East: Gateway Crossing Apartments

- South: Single-family homes in the Gateway Crossing subdivision

- West: Retail out-lot(s) zoned GC PUD

Infrastructure

Sanitary sewer service will be provided by the Town and water service will be provided by Citizens Energy Group.  Vehicular site access to the site will be provided from N. Gateway Crossing Blvd (main entrance) and the retail drive (secondary entrance).  The site does require stormwater detention which is being provided by the adjacent detention (expanded to meet capacity needs).

Development Standards

Setbacks: The minimum front-yard setback along N. Gateway Crossing Blvd. is 30, the front-yard setback along the retail drive is 50’, the side-yard setback adjacent to the apartments is 20’, and the side-yard setback adjacent to the future retail uses is 5’.  This project is in compliance.

Minimum Living Unit Size : The minimum living unit size is 600 square feet for a one-bedroom unit.  This will be reviewed for at the building permit stage.

Lot Coverage: Lot coverage shall not exceed 60%.  This project is in compliance.

Building Height:  The Main Facility is restricted to 42’ and the detached garage buildings are limited to 15’ in height.  This project is in compliance.

Maximum Number of Units: 119.  This project is in compliance.

Landscaping:  Landscaping is required in conformance with the Town’s Zoning Ordinance and as modified by the GC PUD.  The landscaping requirements include perimeter landscaping, parking lot landscaping, and foundation plantings, among other requirements.  This project is in compliance.

Parking:  The PUD requires a minimum of 80 surface spaces and 40 garage spaces.  This project is in compliance.

Architecture: The petitioner is not requesting approval of architecture at this time.  The building elevations will go to the ARC for approval.

Entrance Lighting: Entrance lighting is required and the petitioner has provided lighting in compliance with the standards.  This project is in compliance.

Site Lighting: Lighting standards are included in the Town’s Zoning Ordinance and include requirements such as foot-candle limits, height, and that all lighting be decorative.  This project is in compliance.

Pedestrian Accessibility:  The PUD includes standards for sidewalks and asphalt paths along streets, connector sidewalks to the principal entrances, crosswalks, and sidewalks along building front elevations.  This project is in compliance.

Signage:  Signage has not been submitted and will be reviewed under the separate sign permit process.

Technical Advisory Committee (TAC)

The project went to TAC on October 3rd, and received a number of comments.  All comments applicable to the Plan Commission’s review have been addressed.  The petitioner will continue to work with staff on setting postal addresses and addressing stormwater comments.

Staff Comments:	Staff has reviewed this project and finds that it meets all the applicable Town standards.  Staff has one concern that bears attention from the Plan Commission.  The adjacent detention facility is owned by another property owner.  The Town staff believes a town review of the maintenance agreement between the two parties is warranted.  Therefore, we will be recommending approval contingent upon this maintenance agreement being submitted and reviewed by the Town Engineer.

The petitioner is requesting approval of the Development Plan.  The petitioner is also required to provide a Secondary Plat.  The petitioner is still working on the Plat and therefore it is not available for review.  The Plat will need to come to the Plan Commission prior to its approval.  The petitioner is aware they will need to come back for approval of the Plat.  Staff recommends approval of the Development, contingent upon the petitioner submitting and allowing adequate time for review by the Town Engineer, prior to the issuance of a building permit.  The maintenance agreement shall meet with the Town Engineer’s approval.