Plan Commission Staff Report						   November 23, 2021

Department of Planning and Building

Town of McCordsville

Project:		PC-21-012, Mt. Comfort Industrial Site Primary Plat

Petitioner: 		HSA Commercial Real Estate

Request:	The petitioner is seeking approval of a Primary Plat for a subdivision of one (1) lot and two (2) blocks.

Staff Review:	This property was zoned industrial by the County in 2007.  The Town Council voted to annex this property into Town in 2015.

General Size & Location

The subject property is approximately 80 acres and is located along the northside of CR 500N and just east of CR 600W.  The property and its location is further described on the Primary Plat.

Existing Land Use & Zoning

The subject property is a split zoned parcel, zoned Industrial – 1 (I-1) and Industrial – 2 (I-2) with Commitments and is currently undeveloped.  Adjacent properties are zoned as follows:

- North: properties zoned I-2, R-3, and County IBP

- East: Undeveloped agricultural property zoned IBP by the County

- South: Across CR 500N is predominately industrial zoning by the County

- West: single-family homes zoned R-3 or I-1

Infrastructure

The site will receive sanitary sewer service through Aqua Indiana.  Water service will be provided Citizens Energy Group.  The site has frontage along both CR 600W and CR 500N.  Exact ingress/egress points will be determined at the Development Plan stage.

Development Proposal

The primary plat shows one lot and two blocks, totaling +/- 80 acres.  At this time it is staff’s understanding the developer intends to only develop the portion of the property east of the legal drain.  The intended development is speculative industrial.

The following bulk standards apply to any primary plat on property zoned I-2 (portion of Real Estate east of the legal drain):

- Min. Lot Area:			3 acres

- Min. Lot Width:		150 feet

- Min. FY Setback:		45 feet (local), 50 feet (all others)

- Min. SY Setback:		50 feet

- Min. RY Setback:		50 feet

The following bulk standards apply to any primary plat on property zoned I-1 (portion of Real Estate west of the legal drain):

- Min. Lot Area:			2 acres

- Min. Lot Width:		125 feet

- Min. FY Setback:		50 feet (arterial), 40’ (all others)

- Min. SY Setback:		25 feet

- Min. RY Setback:		40 feet

In addition to the bulk standards denoted above, all primary plats must show right-of-way to be dedicated (at time of final plat) in accordance with the Town’s Thoroughfare Plan, existing easements, proof of access to a public thoroughfare, and delineations of any anticipated or known future easements.

All other standards relating to lot specific requirements, development standards, design standards, etc are reviewed at subsequent stages.

Staff Comments:	The purpose of primary plats is to ensure the minimum basic standards of the applicable zoning district are met, and that all proposed lots/parcels have access to public right-of-way, utilities, and other necessary services.  In other words, the primary plat is ensuring that all lots/parcels/blocks are legal, conforming lots/parcels/blocks as required by the Town’s Zoning Ordinance.  This primary plat, as submitted, is in compliance.

Following the public hearing, the Commission may vote on this petition.  Staff finds that the petition meets all of the requirements for a primary plat within this zoning and therefore staff recommends approval, contingent upon the recording of the annexation ordinance.

As of the writing of this report, staff has not received any comments from the public regarding this petition.

This petition will require a public hearing and following the public hearing and discussions from staff and the petitioner, the Commission can motion to provide (a) approval, (b) continuance, or (c) denial.